## RFI Responses
CheckBox | 1.1 Background and Technology | Response
Corporate Background
1.1.1 How many years has your company been in business? Is your company an LLC, C corporation, S Corporation, or other? Do you have a parent company, and if so where is that located?
1.1.2 Provide the address of your corporate office and which office will provide the services.
General
1.1.3 What building size does your product serve? Select all that apply.
☐ Large > 50,000 square feet (sf)
☐ Medium 10,000 – 50,000 sf
☐ Small < 10,000 sf
Provide further explanation:
1.1.4 What is your product application? Select all that apply.
☐RTU
☐Commercial refrigeration
☐Other
Provide further explanation or list multiple or other system types:
1.1.5 What is your market availability? Select all that apply.
☐FDD is commercially available
☐Still being researched/demonstrated/piloted (pre-commercial)
☐Other
Provide further explanation:
1.1.6 What size-capacity of units does your product serve? Select all that apply.
☐ <=10 tons
☐ 10-20 tons
☐ >20 tons
☐ Any size
Provide further explanation:
1.1.7 What type of conditioning functions/systems does your product support? Select all that apply.
☐ Heating only
☐ Cooling only
☐ Heating and cooling
☐ Other
Provide further explanation:
1.1.8 How long has your commercially-available product been on the market? Select all that apply.
☐ 1-3 years
☐ 3-5 years
☐ > 5 years
Provide further explanation:
1.1.9 Who is your product’s intended user? Select all that apply.
☐ Vendor (for analysis-as-a-service)
☐ An engineering manager/operator/site staff
☐ Third-party service provider
☐ Other
Provide further explanation:
1.1.10 Who owns the FDD data and information generated and stored by your product? Select all that apply.
☐ End-customer
☐ The FDD vendor
☐ Third-party service provider
☐ Other
Provide further explanation:
Setup and Configuration
1.1.11 How does your company offer and sell your product? Select all that apply.
☐ Hardware based (external sensors, no BMS required)
☐ Software based (BAS/BMS/BEMS Required, historical data)
☐ Hybrid (Hardware and Software, BAS/BMS/BEMS optional) ☐ Other
Provide further explanation:
1.1.12 Explain the nature of your product software. Select all that apply.
☐ Open source code
☐ FDD Software is cloud hosted
☐ Locally hosted on an “on-site” server such as a BAS/BMS/BEMS
☐ Located on a desktop computer or other device
☐ Controller-embedded
☐ Other
Provide further explanation:
1.1.13 Who performs tool installation configuration? Select all that apply.
☐ FDD solution vendor
☐ Third-party provider affiliated and trained by FDD vendor
☐ Third-party provider with no specialty training required
☐ Building engineering/ manager/operator/site staff
☐ Other
Provide further explanation:
1.1.14 Are there additional onsite hardware installations or upgrades that may be required in conjunction with the installation of your product? If so, what is required? Select all that apply.
☐ Additional hardware is required
☐ Some existing hardware may have to be upgraded
☐ No changes to existing building hardware is expected
Provide further explanation:
1.1.15 How much setup and tuning is required? Typically, how long before your product can detect and diagnose faults after the physical installation?
☐ One day
☐ Less than a week
☐ Less than a month
☐ More than a month
☐ Other
Provide further explanation:
1.1.16 Specify an estimate or range of effort involved for each unit for a customer for each activity listed below in number of person-hours, based upon your experience.
☐ Training: _______________ person-hours
☐ Installation: _______________ person-hours
☐ Setup-Tuning: _______________ person-hours
☐ Recurring Annual Maintenance or retuning: _______________ person-hours
☐ Other
Provide further explanation:
Fault Detection, Diagnostic, and Management Capabilities
1.1.17 Does your product require baselining (no-fault operation)?
☐ Detects absolute performance; doesn't need baselining
☐ Detects change from baseline; needs baselining
☐ Other
Provide further explanation:
1.1.18 Which fault types can your product detect for a RTU? Select all that apply.
☐ Refrigerant charge
☐ Economizer
☐ Controls
☐ Condenser fouling
☐ Evaporator fouling/insufficient air flow
☐ Expansion device
☐ Compressor faults
☐ Energy performance (efficiency and capacity) degradation
☐ Refrigerant liquid line restriction
☐ Non-condensable gases in refrigerant
☐ Capacity degradation
☐ Unit communication
☐ Drive communication
☐ Drive fault
☐ Fan-run
☐ Fan-belt
☐ Heat fail
☐ Cooling fail
☐ Damper failure
Sensor faults:
☐ Supply air sensor
☐ OA sensor
☐ CO2 sensor
☐ RA sensor
☐ Supply limit
☐ Others
Provide further explanation:
1.1.19 Which fault types can your product self-diagnose (determine possible reasons why the fault occurred) for a RTU? Select all that apply.
☐ Refrigerant charge
☐ Economizer
☐ Controls
☐ Condenser fouling
☐ Evaporator fouling/insufficient air flow
☐ Expansion device
☐ Compressor faults
☐ Energy performance (efficiency and capacity) degradation
☐ Refrigerant liquid line restriction
☐ Non-condensable gases in refrigerant
☐ Capacity degradation
☐ Unit communication
☐ Drive communication
☐ Drive fault
☐ Fan-run
☐ Fan-belt
☐ Heat fail
☐ Cooling fail
☐ Damper failure
Sensor faults:
☐ Supply air sensor
☐ OA sensor
☐ CO2 sensor
☐ RA sensor
☐ Supply limit
☐ Others
Provide further explanation:
1.1.20 Does your product include fault verification, meaning can it determine which faults are likely false positives, or it can prioritize faults based upon confidence levels or other considerations?
☐ Included
☐ Not included
☐ Other
Provide further explanation:
1.1.21 Does your product provide repair recommendations to address faults detected?
☐ Recommendations for repair provided
☐ Recommendations for repair not provided
☐ Repair is directly made by FDD vendor
☐ Other
Provide further explanation:
1.1.22 Does your product or service provide estimates of impact of identified faults in terms of energy, cost or other factors?
☐ Estimated energy consumption savings
☐ Estimated cost savings
☐ Other factors
Provide further explanation:
Reporting and Other Features
1.1.23 How do you notify users of detected or diagnosed faults? Select all that apply.
☐ Through a software user interface with fault findings
☐ Through a service to the user that includes periodic reports of fault findings
☐ Through automated notifications, e.g., via email or text.
Provide further explanation:
1.1.24 Does the product or service allow the customer to export raw data for their independent use?
☐ Yes, all data and information can be exported.
☐ Yes, some data can be exported.
☐ No data can be exported.
Provide further explanation:
1.1.25 If your product is a software-as-a-service (SAAS) product, or has significant software capabilities, what other capabilities does your product offer other than FDD for HVAC-R systems (for instance, consumption-based savings, demand-based savings, building automation integration, DCV, etc.)?
Cost and Warranty
1.1.26 How would you best describe your product purchase pricing model? Select all that apply.
☐ FDD tool is a one-time purchase with maintenance included
☐ FDD tool upfront cost + recurring cost (with monthly or annual fee)
☐ Profit-sharing or ESCO model
☐ Other
Provide further explanation:
1.1.27 How you best describe your product training model?
☐ Training is included in fixed or variable pricing
☐ Training is an additional cost
☐ Other
Provide further explanation:
1.1.28 What type of warranty do you offer, what is the length of the warranty, and what are the conditions of the warranty?
1.1.29 List any previous independent studies that have been performed concerning the performance of your product or service and indicate whether and where the results have been published publicly.
1.1.30 Provide any other important information about your products and services.
1.2 Staffing
1.2.1 Who will be the University of New Haven’s point of contact?
1.2.2 Will your company be subcontracting any of the services outlined in this RFI? List which services and who the subcontractor will be?
1.3 Customer References
1.3.1 Please supply at least three customer references of companies where you have successfully installed your product. Include company name, contact name, email address and phone number.